## Sheet1
Filename | Example | Variables | Description | Units | PollyXT_LACROS | PollyXT_FMI | PollyXT_TROPOS | arielle | PollyXT_NOA | PollyXT_DWD | Polly_1v2
yyyy_mm_dd_HH_MM_SS_polly_lc.nc | 2019_03_11_00_00_01_PollyXT_LACROS_lc.nc | altitude | Height of lidar above mean sea level | m | ü | ü | ü | ü | ü | ü | ü
|  | longitude | Longitude of the site | degrees_east | ü | ü | ü | ü | ü | ü | ü
|  | latitude | Latitude of the site | degrees_north | ü | ü | ü | ü | ü | ü | ü
|  | start_time | Time UTC to start the current measurement | seconds since 1970-01-01 00:00:00 UT | ü | ü | ü | ü | ü | ü | ü
|  | end_time | Time UTC to finish the current measurement | seconds since 1970-01-01 00:00:00 UTC | ü | ü | ü | ü | ü | ü | ü
|  | time | Time UTC for each calibration | seconds since 1970-01-01 00:00:00 UTC | ü | ü | ü | ü | ü | ü | ü
|  | LC_aeronet_1064nm | Lidar constant at 1064 nm with Constrained-AOD method |  | ü | ü | ü | ü | ü | ü
|  | LC_aeronet_355nm | Lidar constant at 355 nm with Constrained-AOD method |  | ü | ü | ü | ü | ü | ü
|  | LC_aeronet_532nm | Lidar constant at 532 nm with Constrained-AOD method |  | ü | ü | ü | ü | ü | ü | ü
|  | LC_klett_1064nm | Lidar constant at 1064 nm with Klett method |  | ü | ü | ü | ü | ü | ü
|  | LC_klett_355nm | Lidar constant at 355 nm with Klett method |  | ü | ü | ü | ü | ü | ü
|  | LC_klett_532nm | Lidar constant at 532 nm with Klett method |  | ü | ü | ü | ü | ü | ü | ü
|  | LC_raman_1064nm | Lidar constant at 1064 nm with Raman method |  | ü | ü | ü | ü | ü | ü
|  | LC_raman_355nm | Lidar constant at 355 nm with Raman method |  | ü | ü | ü | ü | ü | ü
|  | LC_raman_532nm | Lidar constant at 532 nm with Raman method |  | ü | ü | ü | ü | ü | ü | ü
|  | LC_raman_387nm | Lidar constant at 387 nm with Raman method |  | ü | ü | ü | ü | ü | ü
|  | LC_raman_607nm | Lidar constant at 607 nm with Raman method |  | ü | ü | ü | ü | ü | ü
|  | LCMean1064_warning | flag to show whether the calibration constants is unstalbe. |  | ü | ü | ü | ü | ü | ü
|  | LCMean1064_flag | Actual lidar constant at 1064 nm in application. |  | ü | ü | ü | ü | ü | ü
|  | LCMean1064nm | Actual lidar constant at 1064 nm in application. |  | ü | ü | ü | ü | ü | ü
|  | LCMean355_warning | flag to show whether the calibration constants is unstalbe. |  | ü | ü | ü | ü | ü | ü
|  | LCMean355_flag | Actual lidar constant at 355 nm in application. |  | ü | ü | ü | ü | ü | ü
|  | LCMean355nm | Actual lidar constant at 355 nm in application. |  | ü | ü | ü | ü | ü | ü
|  | LCMean387_warning | flag to show whether the calibration constants is unstalbe. |  | ü | ü | ü | ü | ü | ü
|  | LCMean387_flag | Actual lidar constant at 387 nm in application. |  | ü | ü | ü | ü | ü | ü
|  | LCMean387nm | Actual lidar constant at 387 nm in application. |  | ü | ü | ü | ü | ü | ü
|  | LCMean532_warning | flag to show whether the calibration constants is unstalbe. |  | ü | ü | ü | ü | ü | ü | ü
|  | LCMean532_flag | Actual lidar constant at 532 nm in application. |  | ü | ü | ü | ü | ü | ü | ü
|  | LCMean532nm | Actual lidar constant at 532 nm in application. |  | ü | ü | ü | ü | ü | ü | ü
|  | LCMean607_warning | flag to show whether the calibration constants is unstalbe. |  | ü | ü | ü | ü | ü | ü
|  | LCMean607_flag | Actual lidar constant at 607 nm in application. |  | ü | ü | ü | ü | ü | ü
|  | LCMean607nm | Actual lidar constant at 607 nm in application. |  | ü | ü | ü | ü | ü | ü
yyyy_mm_dd_polly_HH_MM_SS_{start_time}_{endtime}_profiles.nc | 2019_03_11_Mon_LACROS_00_00_01_0243_0340_profiles.nc | altitude | Height of lidar above mean sea level | m | ü | ü | ü | ü | ü | ü | ü
|  | longitude | Longitude of the site | degrees_east | ü | ü | ü | ü | ü | ü | ü
|  | latitude | Latitude of the site | degrees_north | ü | ü | ü | ü | ü | ü | ü
|  | start_time | Time UTC to start the current measurement | seconds since 1970-01-01 00:00:00 UTC | ü | ü | ü | ü | ü | ü | ü
|  | end_time | Time UTC to finish the current measurement | seconds since 1970-01-01 00:00:00 UTC | ü | ü | ü | ü | ü | ü | ü
|  | height | Height above the ground | m | ü | ü | ü | ü | ü | ü | ü
|  | aerBsc_klett_355 | aerosol backscatter coefficient at 355 nm retrieved with Klett method | sr^-1 m^-1 | ü | ü | ü | ü | ü | ü
|  | aerBsc_klett_532 | aerosol backscatter coefficient at 532 nm retrieved with Klett method | sr^-1 m^-1 | ü | ü | ü | ü | ü | ü | ü
|  | aerBsc_klett_1064 | aerosol backscatter coefficient at 1064 nm retrieved with Klett method | sr^-1 m^-1 | ü | ü | ü | ü | ü | ü
|  | aerBsc_aeronet_355 | aerosol backscatter coefficient at 355 nm retrieved with constained-AOD method | sr^-1 m^-1 | ü | ü | ü | ü | ü | ü
|  | aerBsc_aeronet_532 | aerosol backscatter coefficient at 532 nm retrieved with constained-AOD method | sr^-1 m^-1 | ü | ü | ü | ü | ü | ü | ü
|  | aerBsc_aeronet_1064 | aerosol backscatter coefficient at 1064 nm retrieved with constained-AOD method | sr^-1 m^-1 | ü | ü | ü | ü | ü | ü
|  | aerBsc_raman_355 | aerosol backscatter coefficient at 355 nm retrieved with Raman method | sr^-1 m^-1 | ü | ü | ü | ü | ü | ü
|  | aerBsc_raman_532 | aerosol backscatter coefficient at 532 nm retrieved with Raman method | sr^-1 m^-1 | ü | ü | ü | ü | ü | ü | ü
|  | aerBsc_raman_1064 | aerosol backscatter coefficient at 1064 nm retrieved with Raman method | sr^-1 m^-1 | ü | ü | ü | ü | ü | ü
|  | aerExt_raman_355 | aerosol extinction coefficient at 355 nm retrieved with Raman method | m^-1 | ü | ü | ü | ü | ü | ü
|  | aerExt_raman_532 | aerosol extinction coefficient at 532 nm retrieved with Raman method | m^-1 | ü | ü | ü | ü | ü | ü | ü
|  | aerExt_raman_1064 | aerosol extinction coefficient at 1064 nm retrieved with Raman method | m^-1 | ü | ü | ü | ü | ü | ü
|  | aerLR_raman_355 | aerosol lidar ratio at 355 nm retrieved with Raman method | sr | ü | ü | ü | ü | ü | ü
|  | aerLR_raman_532 | aerosol lidar ratio at 532 nm retrieved with Raman method | sr | ü | ü | ü | ü | ü | ü | ü
|  | aerLR_raman_1064 | aerosol lidar ratio at 1064 nm retrieved with Raman method | sr | ü | ü | ü | ü | ü | ü
|  | volDepol_klett_532 | volume depolarization ratio at 532 nm with the same smoothing as Klett method |  | ü | ü | ü | ü | ü | ü
|  | volDepol_klett_355 | volume depolarization ratio at 355 nm with the same smoothing as Klett method |  | ü | ü | ü | ü | ü | ü
|  | volDepol_raman_532 | volume depolarization ratio at 532 nm with the same smoothing as Raman method |  | ü | ü | ü | ü | ü |  | ü
|  | volDepol_raman_355 | volume depolarization ratio at 355 nm with the same smoothing as Raman method |  | ü | ü | ü | ü | ü | ü
|  | parDepol_klett_355 | particle depolarization ratio at 355 nm |  | ü | ü | ü | ü | ü
|  | parDepol_klett_532 | particle depolarization ratio at 532 nm |  | ü | ü | ü | ü | ü | ü | ü
|  | parDepol_raman_355 | particle depolarization ratio at 355 nm |  | ü | ü | ü | ü | ü
|  | parDepol_raman_532 | particle depolarization ratio at 532 nm |  | ü | ü | ü | ü | ü |  | ü
|  | WVMR | Water vapor mixing ratio | g kg^-1 | ü | ü | ü | ü | ü | ü
|  | RH | Relative humidity | % | ü | ü | ü | ü | ü
|  | temperature | air_temperature | degree_Celsius | ü | ü | ü | ü | ü | ü | ü
|  | pressure | air_pressure | hPa | ü | ü | ü | ü | ü | ü | ü
|  | LR_aeronet_355 | Aerosol lidar ratio at 355 nm | sr | ü | ü | ü | ü | ü | ü
|  | LR_aeronet_532 | Aerosol lidar ratio at 532 nm | sr | ü | ü | ü | ü | ü | ü | ü
|  | LR_aeronet_1064 | Aerosol lidar ratio at 1064 nm | sr | ü | ü | ü | ü | ü | ü
|  | reference_height_355 | Reference height for 355 nm | m | ü | ü | ü | ü | ü | ü
|  | reference_height_532 | Reference height for 532 nm | m | ü | ü | ü | ü | ü | ü | ü
|  | reference_height_164 | Reference height for 1064 nm | m | ü | ü | ü | ü | ü | ü
yyyy_mm_dd_ddd_polly_HH_MM_SS_att_bsc.nc | 2019_03_11_Mon_LACROS_00_00_01_att_bsc.nc | altitude | Height of lidar above mean sea level | m | ü | ü | ü | ü | ü | ü | ü
|  | longitude | Longitude of the site | degrees_east | ü | ü | ü | ü | ü | ü | ü
|  | latitude | Latitude of the site | degrees_north | ü | ü | ü | ü | ü | ü | ü
|  | time | Time UTC | seconds since 1970-01-01 00:00:00 UTC | ü | ü | ü | ü | ü | ü | ü
|  | height | Height above the ground | m | ü | ü | ü | ü | ü | ü | ü
|  | attenuated_backscatter_355nm | attenuated backscatter at 355 nm | sr^-1 m^-1 | ü | ü | ü | ü | ü | ü
|  | attenuated_backscatter_532nm | attenuated backscatter at 532 nm | sr^-1 m^-1 | ü | ü | ü | ü | ü | ü | ü
|  | attenuated_backscatter_1064nm | attenuated backscatter at 1064 nm | sr^-1 m^-1 | ü | ü | ü | ü | ü | ü
yyyy_mm_dd_ddd_polly_HH_MM_SS_quasi_results.nc | 2019_03_11_Mon_LACROS_00_00_01_quasi_results.nc | altitude | Height of lidar above mean sea level | m | ü | ü | ü | ü | ü | ü | ü
|  | longitude | Longitude of the site | degrees_east | ü | ü | ü | ü | ü | ü | ü
|  | latitude | Latitude of the site | degrees_north | ü | ü | ü | ü | ü | ü | ü
|  | time | Time UTC | seconds since 1970-01-01 00:00:00 UTC | ü | ü | ü | ü | ü | ü | ü
|  | height | Height above the ground | m | ü | ü | ü | ü | ü | ü | ü
|  | quasi_bsc_532 | quasi aerosol backscatter coefficients at 532 nm | sr^-1 m^-1 | ü | ü | ü | ü | ü | ü | ü
|  | quasi_bsc_1064 | quasi aerosol backscatter coefficients at 1064 nm | sr^-1 m^-1 | ü | ü | ü | ü | ü | ü
|  | quasi_pardepol_532 | quasi particle depolarization ratio at 532 nm |  | ü | ü | ü | ü | ü | ü
|  | quasi_ang_532_1064 | quasi backscatter-related angstroem exponent at 532-1064 |  | ü | ü | ü | ü | ü | ü
yyyy_mm_dd_ddd_polly_HH_MM_SS_vol_depol.nc | 2019_03_11_Mon_LACROS_00_00_01_vol_depol.nc | altitude | Height of lidar above mean sea level | m | ü | ü | ü | ü | ü | ü | ü
|  | longitude | Longitude of the site | degrees_east | ü | ü | ü | ü | ü | ü | ü
|  | latitude | Latitude of the site | degrees_north | ü | ü | ü | ü | ü | ü | ü
|  | time | Time UTC | seconds since 1970-01-01 00:00:00 UTC | ü | ü | ü | ü | ü | ü | ü
|  | height | Height above the ground | m | ü | ü | ü | ü | ü
|  | volume_depolarization_ratio_355nm | volume depolarization ratio at 355 nm |  | ü | ü | ü | ü | ü | ü | ü
|  | volume_depolarization_ratio_532nm | volume depolarization ratio at 532 nm |  | ü | ü | ü
yyyy_mm_dd_ddd_polly_HH_MM_SS_target_classification.nc | 2018_12_31_Mon_LACROS_06_00_01_target_classification.nc | altitude | Height of lidar above mean sea level | m | ü | ü | ü | ü | ü | ü
|  | longitude | Longitude of the site | degrees_east | ü | ü | ü | ü | ü | ü
|  | latitude | Latitude of the site | degrees_north | ü | ü | ü | ü | ü | ü
|  | time | Time UTC | seconds since 1970-01-01 00:00:00 UTC | ü | ü | ü | ü | ü | ü
|  | height | Height above the ground | m | ü | ü | ü | ü | ü | ü
|  | target_classification | target classification |  | ü | ü | ü | ü | ü | ü
yyyy_mm_dd_ddd_polly_HH_MM_SS_WVMR_RH.nc | 2018_12_31_Mon_LACROS_06_00_01_WVMR_RH.nc | altitude | Height of lidar above mean sea level | m | ü | ü | ü | ü | ü
|  | longitude | Longitude of the site | degrees_east | ü | ü | ü | ü | ü
|  | latitude | Latitude of the site | degrees_north | ü | ü | ü | ü | ü
|  | time | Time UTC | seconds since 1970-01-01 00:00:00 UTC | ü | ü | ü | ü | ü
|  | height | Height above the ground | m | ü | ü | ü | ü | ü
|  | RH | Relative humidity | % | ü | ü | ü | ü | ü
|  | WVMR | Water vapor mixing ratio | g kg^-1 | ü | ü | ü | ü | ü